## Instructions
Do not modify the name or the headers on the “zone” sheet.
Intended for use with zone_config.py and zone_config_x.py
Only the sheet named “zone” is read and only the columns “Type”, “Action”, “Name”, “Member”, and “Principal Member” are read. This allows you to add columns for documentation purposes and add sheets that can easily be copied and renamed “zone”.
zone_config_x processes all transactions in order. With zone_config.py all deletes are performed first by deleting zone configurations first, then zones, then aliases. All additions are then performed by adding aliases first, then zones, then zone configurations regardless of the order in the workbook. The "save" action is not supported in zone_config.py
The “Principal_Member” column is relevant to peer zones only
If “Type”, “Action”, or “Name” is empty, the previous entry is assumed.
You can make multiple member changes by specifying the same “Type”, “Action”, and “Name” again on another row.
Typically, multiple Members or Principal Members are on separate rows for readability but multiple entries can be a semi-colon separated list in the same cell. Note that a semi-conlon, not a comma, separated list is used so as not to confuse d,i members. A d,i member is typically only used in FICON.
The same order of operations as required by FOS via the CLI apply. For example, if you plan to enable a new one configuration and delete the defined configuration that matches the current zone configuration you must enable the new zone configuration first. Otherwise, an error is reported because you can't delete the defined configuration associated with the effective configuration.
The zoning database is read from the switch before taking any actions. This means that members and zone objects do not have to be in this workbook as long as they are already in the zone database.

## zone
Zone_Object | Action | Name | Member | Principal Member | Comments
alias | create | storeage_alias_0 | 50:06:04:82:d5:31:d4:00
|  | storeage_alias_1 | 50:06:04:82:d5:31:d4:01
|  | server_alias_0 | 10:00:70:10:6f:56:9f:00
|  | server_alias_1 | 10:00:70:10:6f:56:9f:01
|  | server_alias_2 | 10:00:70:10:6f:56:9f:02
|  | server_alias_3 | 10:00:70:10:6f:56:9f:03
|  | server_alias_4 | 10:00:70:10:6f:56:9f:04
|  | server_alias_5 | 10:00:70:10:6f:56:9f:05
zone | create | zone_0 | storeage_alias_0
server_alias_0
server_alias_2
server_alias_3
|  | zone_1 | storeage_alias_0
server_alias_1
peer_zone | create | peer_zone_0 | storeage_alias_1 | server_alias_3
server_alias_4
server_alias_5
zone_cfg | create | zone_cfg_0 | zone_0
zone_1
peer_zone_0
zone_cfg | create | zone_cfg_1 | zone_1
zone_cfg | activate | zone_cfg_0 |  |  | Activating a zone configuration also saves any pending changes so there is no need to follow with a "save"

## create_zone
Zone_Object | Action | Name | Member | Principal Member | Comments
alias | create | storeage_alias_0 | 50:06:04:82:d5:31:d4:00
|  | storeage_alias_1 | 50:06:04:82:d5:31:d4:01
|  | server_alias_0 | 10:00:70:10:6f:56:9f:00
|  | server_alias_1 | 10:00:70:10:6f:56:9f:01
|  | server_alias_2 | 10:00:70:10:6f:56:9f:02
|  | server_alias_3 | 10:00:70:10:6f:56:9f:03
|  | server_alias_4 | 10:00:70:10:6f:56:9f:04
|  | server_alias_5 | 10:00:70:10:6f:56:9f:05
zone | create | zone_0 | storeage_alias_0
server_alias_0
server_alias_2
server_alias_3
|  | zone_1 | storeage_alias_0
server_alias_1
peer_zone | create | peer_zone_0 | storeage_alias_1 | server_alias_3
server_alias_4
server_alias_5
zone_cfg | create | zone_cfg_0 | zone_0
zone_1
peer_zone_0
zone_cfg | create | zone_cfg_1 | zone_1
zone_cfg | activate | zone_cfg_0 |  |  | Activating a zone configuration also saves any pending changes so there is no need to follow with a "save"

## modify_zone
Zone_Object | Action | Name | Member | Principal Member | Comments
zone | remove_mem | zone_0 | server_alias_2
server_alias_3
zone | add_mem | zone_0 | storeage_alias_1
zone_cfg | remove_mem | zone_cfg_1 | zone_0
zone_cfg | add_mem | zone_cfg_1 | peer_zone_0
zone_cfg | activate | zone_cfg_1
peer_zone | add_mem | peer_zone_0 | server_alias_0 | storeage_alias_0
server_alias_1
zone_cfg | save

## delete_zone
Zone_Object | Action | Name | Member | Principal Member | Comments
zone_cfg | activate | zone_cfg_1 |  |  | I didn't make any changes that would affect zone_cfg_1 so no need to save. Activating a zone configuration automatically sales any pending changes so there is no need to save changes after this action.
zone | delete | zone_0
peer_zone | delete | peer_zone_0
alias | delete | storeage_alias_1
| delete | server_alias_0
| delete | server_alias_2
| delete | server_alias_3
| delete | server_alias_4
| delete | server_alias_5
zone_cfg | delete | zone_cfg_0
zone_cfg | save

## bad_zone_test
Zone_Object | Action | Name | Member | Principal Member | Comments
alias | create | _bad_alias name | 50:06:04:82:d5:31:d4:00 |  | The leading "_" is not valid, nor is the space in the name
|  | bad_alias_member | 00:06:04:82:d5:31:d4:01 |  | The leading 00 in the WWN is not a valid WWN
| delete | storeage_alias_0 |  |  | In my test environment, storeage_alias_0 was used in a zone
zone | delete | zone_0 |  |  | In my test environment, zone_0 was used in a zone configurtion
| add_mem | non_existent_zone | server_alias_1; storeage_alias_0 |  | zone_config_x is pretty foregiving in that it will allow this and just create the zone. This test is to make sure the logical to handle semi-colon separated lists are parsed properly.
| create | non_peer_zone_with_principal_members | server_alias_1 | storeage_alias_0
| create | single_member_zone | server_alias_1
| create | no_member_zone
peer_zone | create | peer_zone_missing_principal | server_alias_1
server_alias_3
| create | peer_zone_missing_member |  | storeage_alias_0
zone_cfg | create | zone_cfg_with_peer_members | zone_0 | peer_zone_0
zone_cfg | save